Table S1. Liquid chromatographic and mass spectrometric method conditions

| Parameter | Condition |  |  |
| --- | --- | --- | --- |
| Liquid chromatography conditions |  |  |  |
| Mobile phase A | 0.12% formic acid in water |  |  |
| Mobile phase B | 0.12% formic acid in methanol |  |  |
| Auto-sampler temperature | 8°C |  |  |
| Column temperature | 30°C |  |  |
| Flow rate | 0.8 mL/min |  |  |
| Injection volume | 50μL |  |  |
| Gradient program | Time in min | Mobile Phase-A | Mobile Phase-B |
|  | 0.0 | 90 | 10 |
|  | 1.0 | 90 | 10 |
|  | 5.0 | 30 | 70 |
|  | 7.0 | 30 | 70 |
|  | 7.1 | 90 | 10 |
|  | 10.0 | 90 | 10 |
| Diluent | Methanol |  |  |
| Run time | 10 min |  |  |
| Mass spectrometry conditions |  |  |  |
| Source and Ionization mode | APCI- Positive |  |  |
| Detection mode | MRM |  |  |
| MRM transitions (m/z) selected | NDMA |  |  |
| For qualification | 75.1 > 43.1 |  |  |
| For quantification | 75.1 > 58.1 |  |  |
| Collision energy (CE) | 24 |  |  |
| De-clustering potential (DP) | 42 |  |  |
| Entrance potential (EP) | 15 |  |  |
| MS temperature | 350°C |  |  |